These are the settings your camera should always be set to:

• The lens needs to be set on “Manual Focus” ALWAYS.

• Shoot in “AF” mode.

• White balance set to “Flash”.

• f-stop set to 29 (for depth of field).

• Meter set to “Center Weighted” (this affects exposure).

• Flash sync speed set to 200.

• ASA set to 100 .

• Quality set to Large.

When you shoot intra-oral, make sure the lens is set on manual focus and then set your focal point. All close-ups should be shot at either 1:1 or 1:2 ALWAYS. Since most  cameras do not have a full size sensor your lens settings will actually be 1:1.5 for 1:1 and 1:3 for 1:2. Focus by moving the camera in or out.

Always shoot with fresh batteries in the flash. If your pictures are consistently under or over exposed make adjustments on the flash (Canon) by pressing the “SEL/SET” button and then pressing the “+ or –“ buttons and then “SEL/SET” to confirm. You can change in 1/3 increment. Usually exposure issues are from weak batteries.

For your stick bite shots set the camera on ‘P”. You won’t have to change anything else. Make sure the flash is on.  Have your patient stand against a wall – preferably not a white one. Focus the lens so you are only getting the patients chin to forehead in the frame. Make sure any eye ware is removed.

These are the shots that need to be taken for the respective restorations:

Anterior All-Ceramic – multiple units:

• ClearMatch with A2 in holder – 1:2

• Black back ground behind incisal edge – 1:1

• Shade tabs that are the closest match, tabs held edge to edge on the same plane 	  	with the natural teeth, with number showing on handle – 1:2

• Prep shade – 1:1

• Temps – 1:1 / 1:2

• Stick Bite – chin to forehead – No Eye Ware

Single Units – All Ceramic:

• ClearMatch with A2 in holder – 1:2

• Black back ground behind incisal edge – 1:1

• Shade tabs that are the closest match, tabs held edge to edge on the same plane 	  	with the natural teeth, with number showing on handle – 1:2

• Prep shade – 1:1

• Temps – 1:1 / 1:2

Posterior Units – All-Ceramic:

• ClearMatch with A2 in holder – 1:2

• Shade tabs that are the closest match, tabs held edge to edge on the same plane 	  	with the natural teeth, with number showing on handle – 1:2

• Prep shade – 1:1

Metal-Ceramic Units:

• ClearMatch with A2 in holder – 1:2

• Shade tabs that are the closest match, tabs held edge to edge on the same plane 	  	with the natural teeth, with number showing on handle – 1:2

• If these are multi-unit anteriors then get every shot as the All-Ceramic except 	the prep shade.